## 2025 Summary Data
EDM Storm Overflow Annual Return Summary Reporting 2025
Table 1: 2025 EDM Headlines
Table 2: 2025 EDM Summary Statistics
Table 3: 2025 EDM Device Operation
Table 4: 2025 Storm Overflow Spill Performance
Table 5: 2025 Storm Overflow Spill Reasons
Table 6: 2025 EDM Storm Overflow Annual Return Data Entry
Table 7: 2025 Treatment of Storm Overflows
Table 1: 2025 EDM Headlines | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Water Company Total | Water Company Average
Total number of storm overflows listed in the annual return in 2025 | 1442 | 122 | 1561 | 2452 | 1365 | 977 | 581 | 2270 | 1346 | 2187 | 14303 | -
Total number of active storm overflows listed in the annual return in 2025 | 1442 | 122 | 1561 | 2432 | 1358 | 977 | 580 | 2270 | 1346 | 2184 | 14272 | -
Total number of storm overflows with EDM commissioned | 1442 | 122 | 1561 | 2432 | 1358 | 977 | 580 | 2270 | 1346 | 2184 | 14272 | -
% active storm overflows listed with EDM commissioned | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | - | 100%
Total number of storm overflows with spill data in 2025 | 1438 | 122 | 1559 | 2431 | 1357 | 975 | 579 | 2270 | 1332 | 2176 | 14239 | -
Average number of spills per storm overflow with spill data in 2025 | 11.6683 | 23.3033 | 17.8165 | 15.0025 | 34.0192 | 15.9528 | 15.8705 | 26.8031 | 18.3498 | 23.6356 | - | 20.4714
Average duration (hrs) per monitored spill event in 2025 | 6.0551 | 5.109 | 4.447 | 5.4937 | 8.8165 | 7.3851 | 11.7338 | 5.3819 | 7.8008 | 5.5595 | - | 6.4281
Table 2: 2025 EDM Summary Statistics | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Water Company Total | Water Company Average
Total number of monitored spill events in 2025 | 16779 | 2843 | 27776 | 36471 | 46164 | 15554 | 9189 | 60843 | 24442 | 51431 | 291492 | -
Average number of spills per storm overflow with spill data in 2025 | 11.6683 | 23.3033 | 17.8165 | 15.0025 | 34.0192 | 15.9528 | 15.8705 | 26.8031 | 18.3498 | 23.6356 | - | 20.4714
Total duration (hrs) of monitored spill events in 2025 | 101598.3667 | 14525 | 123521.0967 | 200361.3878 | 407005.82 | 114868.0283 | 107821.9833 | 327452.5442 | 190666.4479 | 285930.5167 | 1873751.1915 | -
Average duration (hrs) per monitored spill event in 2025 | 6.0551 | 5.109 | 4.447 | 5.4937 | 8.8165 | 7.3851 | 11.7338 | 5.3819 | 7.8008 | 5.5595 | - | 6.4281
% storm overflows spilled ≤10 times in 2025 | 65.92% | 42.62% | 49.78% | 55.9% | 36.7% | 57.23% | 59.41% | 43.26% | 48.57% | 41.27% | - | 49.6%
% time operating [spilling] during 2025 per overflow (average) | 0.8065% | 1.359% | 0.9045% | 0.9409% | 3.424% | 1.345% | 2.126% | 1.647% | 1.634% | 1.5% | - | 1.502%
Table 3: 2025 EDM Device Operation | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Water Company Total | Water Company Average
Total number of storm overflows with EDM Operation data | 1442 | 122 | 1561 | 2432 | 1358 | 977 | 580 | 2270 | 1342 | 2184 | 14268 | -
% storm overflows with EDM Operation data provided where expected | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 99.7% | 100% | - | 99.97%
% storm overflows with 0% EDM Operation during reporting period | 0.2774% | 0% | 0.1281% | 0.04112% | 0.07364% | 0.2047% | 0.1724% | 0% | 0% | 0.3663% | - | 0.1332%
% storm overflows with ≥90% EDM Operation during reporting period | 91.75% | 95.9% | 87.06% | 96.3% | 96.69% | 88.23% | 94.48% | 91.45% | 97.47% | 90.71% | - | 92.72%
% storm overflows with <90% EDM Operation during reporting period | 8.252% | 4.098% | 12.94% | 3.701% | 3.314% | 11.77% | 5.517% | 8.546% | 2.534% | 9.295% | - | 7.282%
% of those with <90% operability with reason provided | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | - | 100%
Table 4: 2025 Storm Overflow Spill Performance | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Water Company Total | Water Company Average
% with EDM installed & provided count data - with 0 spill count (did not spill) | 17.52% | 7.377% | 16.36% | 17.65% | 13.12% | 17.95% | 23.32% | 13% | 16.52% | 13.37% | - | 15.72%
% storm overflows with spill data - recorded ≥1 spill count | 82.48% | 92.62% | 83.64% | 82.35% | 86.88% | 82.05% | 76.68% | 87% | 83.48% | 86.63% | - | 84.28%
% recorded 5 spills or less | 50.56% | 28.69% | 37.91% | 41.51% | 28.3% | 44.51% | 48.19% | 33% | 35.21% | 30.28% | - | 37.47%
% recorded 10 spills or less | 65.92% | 42.62% | 49.78% | 55.9% | 36.7% | 57.23% | 59.41% | 43.26% | 48.57% | 41.27% | - | 49.6%
% recorded >10 spills | 34.08% | 57.38% | 50.22% | 44.1% | 63.3% | 42.77% | 40.59% | 56.74% | 51.43% | 58.73% | - | 50.4%
% recorded 20 spills or more | 19.47% | 46.72% | 35.02% | 27.81% | 52.17% | 29.03% | 29.19% | 45.33% | 35.51% | 44.99% | - | 36.52%
% recorded 40 spills or more | 6.189% | 20.49% | 13.73% | 10.24% | 32.57% | 12.82% | 11.74% | 26.34% | 15.32% | 21.69% | - | 17.46%
% recorded 60 spills or more | 2.643% | 8.197% | 4.554% | 3.126% | 20.78% | 4.615% | 5.009% | 14.14% | 4.805% | 9.467% | - | 8.02%
% recorded 100 spills or more | 0.5563% | 1.639% | 0.7697% | 0.4525% | 7.369% | 0.6154% | 1.209% | 3.392% | 0.6006% | 1.471% | - | 1.847%
% recorded 200 spills or more | 0% | 0% | 0% | 0% | 0.2948% | 0% | 0% | 0.04405% | 0% | 0.04596% | - | 0.04214%
Table 5: 2025 Storm Overflow Spill Reasons Please note these metrics are in development. In 2025 there is some inconsistency in approach by different Water & Sewerage Companies | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Water Company Total | Water Company Average
Number of monitored storm overflows that spilled >30 in one year | 145 | 37 | 336 | 379 | 552 | 186 | 108 | 775 | 294 | 670 | 3482 | -
Of those that spilled over SOAF thresholds of >30x in one year, % with a reason provided | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | - | 100%
Of those that spilled over SOAF thresholds of >30x in one year, what % due to exceptional rainfall throughout the year? | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 5.29% | 0% | 0% | - | 1.177%
Of those that spilled over SOAF thresholds of >30x in one year, what % due to other operational (incl. asset maintenance)? | 34.48% | 0% | 19.35% | 7.916% | 35.87% | 47.31% | 70.37% | 12.52% | 0.3401% | 11.19% | - | 19.53%
Of those that spilled over SOAF thresholds of >30x in one year, what % due to hydraulic capacity reasons? | 46.9% | 0% | 78.27% | 92.08% | 37.32% | 52.69% | 26.85% | 82.19% | 0% | 88.36% | - | 64.39%
Of those that spilled over SOAF thresholds of >30x in one year, what % Not Applicable - Ongoing Investigation for primary reason? | 18.62% | 100% | 2.381% | 0% | 26.81% | 0% | 2.778% | 0% | 99.66% | 0.4478% | - | 14.91%
Storm overflows are permitted to operate due to rainfall and/or snowmelt. The root cause for high spill frequency can be attributed to three main reasons over and above response to typical rainfall. These are fully defined in the Storm Overflow Assessment Framework (SOAF) and summarised below.
Exceptional rainfall: This does not refer to individual rainfall events, but rather the rainfall across the reporting year. Two datasets can be used to determine whether rainfall in the reporting year was "exceptional" or not (over & above typical rainfall) – (1) Environment Agency water situation reports or (2) local rainfall records.
If rainfall was exceptional and deemed the primary reason for high spill count then this is indicated in the annual return (Column W).
Asset Maintenance: Where the asset (storm overflow) and potentially parts of the upstream & downstream sewer network have not operated as designed/expected, high spill counts (over 30 times per year) can be caused.
If asset maintenance is deemed the primary reason for high spill count this is indicated in the annual return (column W). The different asset maintenance categories are listed in the EDM dataset README guide Appendix A.
Hydraulic capacity: If the reason for a high spilling storm overflow (over 30 times per year) is neither “exceptional rainfall” nor “asset maintenance” then the reason is classified under the “Hydraulic capacity” category.
This indicates there is insufficient capacity (conveyance or storage) in the sewer network to cope with the wastewater flow plus typical rainfall entering the sewer network.
Link to: Storm Overflow Assessment Framework (SOAF)
Table 6: 2025 EDM Storm Overflow Annual Return Data Entry | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | Northumbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Water Company Total | Water Company Average
Total number of storm overflows listed in the annual return in 2025 | 1442 | 122 | 1561 | 2452 | 1365 | 977 | 581 | 2270 | 1346 | 2187 | 14303 | -
Total number of storm overflows with EDM commissioned | 1442 | 122 | 1561 | 2432 | 1358 | 977 | 580 | 2270 | 1346 | 2184 | 14272 | -
% 'active' storm overflows listed with EDM commissioned | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | - | 100%
Total number of storm overflows with EDM device operability data | 1442 | 122 | 1561 | 2432 | 1358 | 977 | 580 | 2270 | 1342 | 2184 | 14268 | -
% storm overflows with EDM Operation data provided where expected | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 99.7% | 100% | - | 99.97%
Total number of storm overflows with spill data | 1438 | 122 | 1559 | 2431 | 1357 | 975 | 579 | 2270 | 1332 | 2176 | 14239 | -
% storm overflows listed with spill data | 99.72% | 100% | 99.87% | 99.96% | 99.93% | 99.8% | 99.83% | 100% | 98.96% | 99.63% | - | 99.77%
% storm overflows with <90% operability where valid reason provided | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | - | 100%
% of storm overflows >30 spills in one year with a reason provided | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | - | 100%
Table 7: 2025 Treatment of Storm Overflows | Anglian Water (AWS) | Dwr Cymru Welsh Water (DC/WW) (in England) | North umbrian Water (NW) | Severn Trent Water (SvT) | South West Water (SWW) | Southern Water (SW) | Thames Water (TW) | United Utilities (UU) | Wessex Water (WSSX) | Yorkshire Water (YWS) | Water Company Totals | Water Company Averages
% of active storm overflows with treatment listed | 0.9709% | 0% | 0% | 1.275% | 0.2209% | 0.1024% | 5.345% | 0.1762% | 0.4458% | 0.04579% | - | 0.6306%
% of spills from active storm overflows with treatment listed | 2.432% | 0% | 0% | 3.556% | 0.5047% | 0.3986% | 9.577% | 0.2317% | 1.338% | 0.0875% | - | 1.164%
% of spill duration from active storm overflows with treatment listed | 2.08% | 0% | 0% | 6.745% | 0.4216% | 0.8572% | 10.21% | 0.4432% | 2.753% | 0.1343% | - | 1.944%